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Project Proposal: 
Prepared for: Nil
Prepared by: Use It Waste Beneficiation (RF) NPC 
Date:	10 July 2026
1. [bookmark: _Toc234954883]Executive Summary
[bookmark: _Toc201052358]The purpose of this Fire Emergency Plan is to provide clear procedures for preventing fires, ensuring the safe evacuation of all employees, visitors, contractors, and members of the public, and minimizing damage to property and the environment.
[bookmark: _Toc234954884]Scope
This plan applies to all employees, contractors, visitors, waste reclaimers, and any other persons present at the facility.
[bookmark: _Toc234954885]Objectives 
· The primary objectives are to
· Protect life and property. 
· Ensure safe and orderly evacuation. 
· Minimise fire damage. 
· Ensure rapid notification of emergency services. 
· Facilitate safe firefighting where appropriate. 
· Comply with the Occupational Health and Safety Act 85 of 1993.
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[bookmark: _Toc234954886]Fire Risks identified
The following fire risks have been identified at the facility:
· Electrical Faults: Damaged wiring, overloaded circuits, faulty electrical equipment, and poor maintenance may result in electrical fires.
· Paper and Cardboard Storage: Large quantities of paper and cardboard are highly combustible and can contribute to the rapid spread of fire if not stored and managed correctly.
· Plastic Storage: Stored plastics, including recyclable materials, are combustible and may produce dense smoke and toxic fumes when burning.
· Vehicle Fires: Operational vehicles, including collection vehicles and forklifts, present a fire risk due to fuel systems, electrical faults, overheating, or mechanical failures.
· Equipment and Machinery: Processing equipment, balers, compactors, conveyors, and other machinery may present fire hazards due to overheating, friction, electrical malfunctions, or inadequate maintenance.

[bookmark: _Toc234954887]Fire Prevention Measures
The following fire prevention measures shall be implemented to minimise the risk of fire at the facility:
· Maintain good housekeeping by keeping all work areas clean, tidy, and free from unnecessary combustible waste.
· Store combustible materials, including paper, cardboard, plastics, and other recyclables, in designated areas away from ignition sources and in accordance with safe stacking practices.
· Conduct regular inspections and maintenance of all electrical installations, machinery, extension leads, and equipment to identify and rectify faults promptly.
· Ensure all fire extinguishers, hose reels, and other firefighting equipment are readily accessible, clearly marked, inspected monthly, and serviced annually by a competent service provider.
· Keep all emergency exits, evacuation routes, and access points clear of obstructions at all times.
· Display appropriate "No Smoking" signage throughout the facility and enforce the designated smoking policy.
· Carry out routine fire risk inspections to identify hazards and implement corrective actions without delay.
· Provide fire safety awareness and emergency response training to all employees, contractors, and visitors where applicable.
· Ensure that flammable materials and fuel are stored safely in approved containers and away from heat sources.
· Prohibit open flames and unauthorised hot work.
· Report and rectify any unsafe conditions or fire hazards immediately.
· Conduct scheduled fire drills to test emergency procedures and improve staff preparedness.
· Ensure that all employees know the location and correct use of firefighting equipment, emergency exits, and assembly points.
 
              
[bookmark: _Toc234954888]Fire Detection and Alarm
Upon discovering a fire:
· Raise the alarm immediately.
· Activate the nearest fire alarm.
· Inform the Fire Marshal.
· Call the Fire Department
[bookmark: _Toc234954889]EMERGENCY CONTACTS
	Service 
	Telephone 

	Fire department


	031 361 0000

	Ambulance
	10777

	SAPS
	031 571 6518

	Site Manager
	076 247 1000

	Fire Marshal
	073 290 4366

	First Aider 
	073 290 4366



[bookmark: _Toc234954890]EVACUATION PROCEDURE 
In the event of a fire or other emergency requiring evacuation, all personnel shall follow the procedure below to ensure a safe and orderly evacuation:

· Stop working immediately and remain calm.
· Raise the alarm by activating the nearest fire alarm or verbally alerting others in the area.
· Notify the Fire Marshal or Site Supervisor immediately.
· Switch off machinery and electrical equipment, provided it is safe to do so and doing so will not delay evacuation.
· Evacuate immediately using the safe emergency exit nearest. Always follow the designated evacuation routes.
· Do not run or panic. Move quickly and calmly to avoid injuries and congestion.
· Assist visitors and persons with disabilities where it is safe to do so, ensuring no one is left behind.
· Proceed directly to the designated assembly point and remain there until a headcount has been completed.
· Report your presence to the Fire Marshal or designated supervisor to ensure all personnel are accounted for.
· Do not return to the building or work area until the Fire Department or the Incident Controller has declared it safe to do so.
· Follow all instructions given by the Fire Marshal, Site Supervisor, or emergency response personnel throughout the incident.
Site Layout and Emergency Evacuation Plan
[image: ]The Mavavela Projects Connaught Bridge Waste Processing Facility is located on Roadhouse Road, Riverside, Durban North. The facility comprises a waste processing and collection area, material storage bays, a waste drop-off area, a training area, a guard house, vehicle access routes, parking areas, and secure fencing. The layout has been designed to facilitate safe movement of personnel and vehicles while maintaining access for emergency services
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Proposed New Waste Processing Facility

CONNAUGHT BRIDGE WASTE FACILITY - FIRE PLAN & EMERGENCY EVACUATION MAP "
Connaught Bridge Waste Facility - Roadhouse Road - Riverside

PTN 71 of ERF 226, ERF 230, ERF 232 & PTN 2 of ERF 233 of Farm Lot 0086 : DBN North
PROJECT NO.: PAD25_10
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FIRE ACTION

1. STOP work immediately.
2. RAISE the alarm.

3. Switch off machinery
if safe to do so.

4. Evacuate the building
using the nearest exit.

5. Donot run.
6. Do not use ifts.
7. Assist persons with disabilties.

8. Report to the designated
ASSEMBLY POINT.

9. Wait for instructions.

10.D0 not re-enter the building
until authorised.

EMERGENCY NUMBERS

FIRE & RESCUE
AMBULANCE 0313610000
sAPS 0313610000
SECURITY 031564 3210
ENV.HEALTH 0313117999

0313610000
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